## TOSSIT
TOSSIT - Pre-deployment check-list
Deployment location: | Deployment ID
Completion date: | TOSSIT ID:
Acoustic release S/N: | SoundTrap S/N:
Tasks / checks | Date completed
Complete acoustic release checklist
Complete SoundTrap checklist
Complete TOSSIT packing list
Start completing deployment log
Fully charge acoustic release deck box
Charge drill batteries
Nut and bolts are all tight
Soundtrap and acoustic release are well secured
Release S/N written down in deployment log
Acoustic release pin properly connected (not too tight)
Number of floatation rings
Weight secured properly
Time synchronization signal done
WHOI label on instrument
Notes

## PAM drifter
PAM drifter - Pre-deployment check-list
Deployment location: | Deployment ID
Completion date: | SoundTrap S/N:
Hydrophones S/N:
Tasks / checks | Date completed
Complete SoundTrap checklist
Complete PAM drifter packing list
Start completing deployment log
GPS fully charged
GPS set to tracking mode
GPS turned ON
GPS attached at the top of high-flyer
Radio beacon attached to high-flyer
Radio beacon truned ON (i.e. magnet off)
Flag attached to high-flyer
Check that all components of mooring are secured
WHOI label on instrument
Notes

## SoundTrap 600 Series
SoundTrap 600 Series - Pre-deployment check-list
Deployment location: | Deployment ID
Completion date:
SoundTrap model: | SoundTrap S/N:
Tasks / checks | Date completed
Check deployment depth is below SoundTrap max. depth rating | Location depth: m
Check that batteries are fully charged
Check polarity of batteries placed in the ST
Elastic band placed around batteries
SD cards formatted with ST software (each card individually)
ST set to UTC
Calibration tones disabled
Performed test/calibration recording:
- Tap on each hydrophone to ensure proper channel assignment
- Files have timestamp in UTC
- Inspect noise, max freq., duration, cal. Tones
Test recording saved in deployment folder
Take screenshot of ST configuration
LED light confirming recording started
Inspect O'rings for nicks, debris, scratches
Oring cleaned and greesed
Inspect inside tube for nicks and cracks
All Seacon connectors properly greased
All dummy plugs are in place
WHOI label on instrument
Notes

## SoundTrap 300 Series
SoundTrap 300 Series - Pre-deployment check-list
Deployment location: | Deployment ID
Completion date:
SoundTrap model: | SoundTrap S/N:
Tasks / checks | Date completed
Check deployment depth is below SoundTrap max. depth rating | Location depth: m
Check that batteries are fully charged
Check that storage is cleared
ST set to UTC
Calibration tones disabled
Performed test/calibration recording:
- Tap on each hydrophone to ensure proper channel assignment
- Files have timestamp in UTC
- Inspect noise, max freq., duration, cal. Tones
Test recording saved in deployment folder
Take screenshot of ST configuration
LED light confirming recording started
All Seacon connectors properly greased
All dummy plugs are in place with electric tape (if relevant)
WHOI label on instrument
Notes

## Acoustic release
Acoustic release - Pre-deployment check-list
Deployment location: | Deployment ID
Completion date:
Release model: | Release S/N:
Tasks / checks | Date completed
Check deployment depth is below ac. release max. depth rating | Location depth: m
Charge acoustic release deck box
Tested and replaced transducer battery
Tested and replaced motor battery
Conducted range test with deck box
Conducted release test with deck box
Locking lug pin is on
PVC (white) stabilizer placed around the lug
Inspect O'rings for nicks, debris, scratches
Inspect inside tube for nicks and cracks
Oring cleaned and greesed
Pressure case properly closed
LED flashes - confirming release is activated
WHOI label on instrument
Notes

## Trident ROV
Trident ROV - Pre-deployment check-list
Deployment location: | Deployment ID
Completion date:
Tasks / checks | Date completed
Charge ROV
Charge controler
Charge USB battery bank
Test ROV controls (each DOF, light)
ROV controler set to UTC
Test recording video
Test buoyancy in situ
Erase all videos on ROV and controller
Install OpenROV app on cell phone
Notes